MINIBLUE® pump available with:	9

CR PLUG

X87-500

RTeEsMerPvEoRirAsTeUnsRoEr

SENSOR

X87-504

8

7

FLOW RATE L/HR

6

5

4

3

2

0

DIMENSIONS (MM)

138

58

All of the BLUEDIAMOND® pumps have the ability to run dry without burning out. Enabling them to remove

2	4	6

HEAD (M)

8	10

RUN DRY

WHISPER QUIET

any liquids, preventing organic growth inside the tubing.

Quiet in all stages of operation and not only when set to quiet mode or relying on a soft start setting.

67

55

DISCHARGE PIPE RUN

V (VERTICAL)

H (HORIZONTAL)

*8 KW MAX

+44 (0)1932 355 277

TheMINIBLUE® canbemountedinany orientation up to 8m away from the A.C unit.

X

X

ROTARY DIAPHRAGM

3WARRANTY

PERFORMANCE

21 dba

Running either wet or dry, the MINIBLUE® is whisper quiet whilst reliably removing condensate and debris. Inherently reliable whilst self priming it gives peristaltic performance at the price of a piston pump. The MINIBLUE® is small enough to quickly fit, or retro fit, into any existing installation, saving both time and money.

SENSING OPTION

PERFORMANCE

MAX LIFT

5 METRES

MAX HEAD

8 METRES

MAX FLOW

8 L/ HOUR

UNIT

3.5-8 KW

YEAR

| 8 M | 0 M |
| --- | --- |
| 7 M | 3 M |
| 6 M | 6 M |
| 5 M | 9 M |
| 4 M | 12 M |
| 3 M | 15 M |
| 2 M | 18 M |
| 1 M | 21 M |